Basic Requirements for a Food Service Establishment Plan Review

Plan Requirements

Facility & Layout

The plan should be at least 11” x 14” and accurately drawn to a minimum scale of ¼” = 1’ and include:

☐ All rooms: kitchen, storage, toilets + utility

☐ Equipment layout (all equipment + sinks)

☐ Handwashing sinks + floor drains

☐ Hot water heater(s) location

☐ Dumpster/can wash area

Systems & Utilities

☐ Water supply source

☐ Sewage disposal system

☐ Grease trap (or exemption)

☐ Electrical, plumbing, ventilation (code-compliant)

Equipment Details

☐ Sink dimensions (3-compartment + others)

☐ Finish schedule (floors, walls, ceilings)

Do not purchase equipment or begin construction until plans are approved.

Other Required Approvals

Henderson County Building Services

100 N. King St., Hendersonville

☐ Central Permitting

☐ Zoning

☐ Building Inspections (submit plans)

☐ Fire Marshal (submit plans, equipment spec sheets, floor/wall finish schedules + hood details)

Note: Building/Fire handles hood + ventilation requirements.

Waste & Grease Approval

☐ Obtain a grease trap approval or exemption letter from one (1) of the following agencies:

- City sewer → Environmental Services

Utilities Compliance Coordinator: (828) 697-3057

- County sewer → Henderson County

Cane Creek Sewer District: (828) 694-6608

- Private system → System operator

- Septic system → Health Department

Environmental Health: (828) 694-6060

Submit to the Health Department for Plan Review

Submit final plans to Environmental Health at least 3 weeks before construction. Information accompanying the plans should include:

☐ Proposed menu

☐ Food Establishment Plan Review Application

☐ Spec sheets for each piece of equipment

☐ $250 plan review fee

☐ All approvals (Building, Fire, Zoning, etc.)

☐ Grease trap documentation

Construction & Final Approval

Build according to approved plans only. Any unapproved changes may require correction.

Before opening, obtain:

- Final inspection approval from the Health Department

- Approval of Building Inspections & Fire Marshal

Core Facility Requirements

Utilities

- Approved water source

- Approved sewage disposal

- Grease trap required

Equipment

- 3-compartment sink (with drainboards or racks)

- Handwashing sink(s)

- Refrigeration/freezers

- Cooking equipment (based on menu)

- Prep tables (stainless steel)

- Service/mop sink

- Dry storage

- Dumpster or cleaning system

- Commercial hot water heater (sized/approved)

NSF-certified equipment required (with some exceptions, such as microwaves + toasters)

Construction Standards

Floors, walls, and ceilings must be:

- Smooth

- Durable

- Light-colored

- Easily cleanable

Recommended examples: commercial vinyl tile, quarry tile floors, fiberglass-reinforced wall panels, epoxy-painted drywall, or vinyl-coated drop-in ceiling tiles.

Lighting Requirements:

- 108 lux (10 ft-candles) 30-in above the floor in walk-in refrigeration units, dry food storage areas, and other areas during cleaning.

- 215 lux (20 ft-candles):

  - At a surface where food is provided for consumer self-service

  - Inside equipment such as reach-in and under-counter refrigerators

  - At 30 inches above the floor in areas used for handwashing, ware washing, and equipment and utensil storage

  - In toilet rooms

- 540 lux (50 ft-candles) at a surface where a food employee is working with food or working with utensils or equipment.

Tips to Avoid Delays

- Get plan approval before buying equipment

- Submit complete plans (most delays come from missing details)

- Coordinate early with Building & Fire

- Allow review time (≥ 3 weeks)